{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["技术要求"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"技术要求","index":0,"n_rows":35,"n_cols":6,"rows_kept":35,"merged":[[0,0,0,5],[32,0,32,1],[33,0,33,1],[33,2,33,5],[34,0,34,5]],"flags":["formulas_cached_only"]}
["采购项目清单：罗氏生化分析仪常用耗材采购项目"]
["序号","项目名称","规格","单位","资金预算\n（元）","资金来源"]
[1,"电解质参比液","500 mL","盒",1109,"自筹"]
[2,"样本稀释液","2x2000 mL","盒",1648,"自筹"]
[3,"不饱和铁结合力","300测试","盒",3000,"自筹"]
[4,"电解质内标液\nISE Internal Standard","2x2000 mL","盒",450,"自筹"]
[5,"碱性洗液NaOH-D cobas c 701","102  mL","盒",250,"自筹"]
[6,"清洗液ECO-D, Eco Tergent, c 701","96 mL","盒",298,"自筹"]
[7,"样本稀释液Diluent NaCl 9 %, cobas c 701","119 mL","盒",881,"自筹"]
[8,"清洗液Multiclean, Sample Cleaner 1, c701/c 502","12x20ml","盒",462,"自筹"]
[9,"酸性洗液Acid wash Solution,2x1.8L","2x1.8 L","盒",715,"自筹"]
[10,"氢氧化钠基础洗液NaOH-D/Basic Wash,2x1.8L","2x1.8L","盒",715,"自筹"]
[11,"酸性洗液SMS for china cobas c701 c702","119ml","盒",1118,"自筹"]
[12,"样本针清洗液2Sample Cleaner 2, c 701/c502","12x20ml","盒",2500,"自筹"]
[13,"多项生化低值质控品PreciControl ClinChem Multi 1(PCCC1)","4 × 5 mL","盒",2500,"自筹"]
[14,"多项生化高值质控品 PreciControl ClinChem Multi 2(PCCC2)","4 × 5 mL","盒",1500,"自筹"]
[15,"多项生化校准品Calibrator for automated systems(C.f.a.s.)","12×3 mL（冻干粉，复溶后体积）","盒",1650,"自筹"]
[16,"蛋白质病理值质控品（尿液/脑脊液）Precipath PUC","4x3 mL","盒",2360,"自筹"]
[17,"蛋白质校准品（尿液/脑脊液）C.f.a.s.PUC","1 mL","支",2360,"自筹"]
[18,"蛋白质多项校准品C.f.a.s. Proteins","1 mL","支",1109,"自筹"]
[19,"肌酸激酶同工酶检测用校准品Cfas CK.MB3x1ML","1 mL","支",1648,"自筹"]
[20,"氨水/乙醇/二氧化碳检测用校准品Ammonia/Ethanol/CO2 Calibrat","4 mL","支",3000,"自筹"]
[21,"PAC校准品(前白蛋白、抗O、铜蓝蛋白定标液)\nCfas PAC 3x1ML","3*1ml","支",450,"自筹"]
[22,"电解质低值定标液\nISE Standard low","10 x 3 mL","盒",250,"自筹"]
[23,"电解质高值定标液ISE Standard High","10 x 3 mL","盒",298,"自筹"]
[24,"铁校准品","1*75ml","盒",881,"自筹"]
[25,"脂蛋白(a)二代质控品\nPreciControl LPA Gen.2","低水平:2×1 mL(冻干粉,复溶后体积);高水平:2×1 mL(冻干粉,复溶后体积)","盒",462,"自筹"]
[26,"脂蛋白(a)二代校准品\nPreciset LPA Gen.2","5x1mL（冻干粉，复溶后体积）","盒",715,"自筹"]
[27,"类风湿因子质控品\nControlset RF II","水平 1: 2x1.0 mL;水平 2: 2x1.0mL","盒",715,"自筹"]
[28,"类风湿因子校准液\nPreciset RF","5x1 mL","盒",1118,"自筹"]
[29,"NH3/ETH/CO2 质控品 I\nNH3/ETH/CO2 Control I","5x4 mL","盒",2500,"自筹"]
[30,"NH3/ETH/CO2 质控品 II\nNH3/ETH/CO2 Control II","5x4 mL","盒",2500,"自筹"]
["合计"]
["备注",null,"招一年供货商"]
["技术要求及配置确认书\n\n一、项目名称、数量：罗氏生化分析仪常用耗材采购项目，一批           \n                                                                                                二、项目用途说明：\n\n                                                                                                三、配置规格、附件及零配件（包括专用工具）：\n            \n                                                                                                             \n四、详细技术要求、参数及产品资料等：\n\n                                                                                                                                                                                                                                                                                                                \n五、售后服务条件及交货日期（或工期）："]